## Slide 1
Pros:
Simple
Photo + flow evidence
Cons:
Visible
Only for regular flow, not for rocky riverbeds
Alternative:
Combine with data about power output
No stick, just a tree
1. Vision-based
camera
solar panel

## Slide 2
Water flow sensors
Electronics
solar panel
1. Direct sensor
Pros:
Cheaper
Still simple
Easier to hide
Does not depend on video
Cons:
Very sensitive to placement if measuring flow

## Slide 3
Power station
River flow
stream flow
turbine flow

## Slide 4
Power station
River flow
stream flow
turbine flow
Can we calculate one from other two? Yes!
Stream flow = river flow – turbine flow

## Slide 5
Power station
River flow
stream flow
turbine flow
Power [W] = Net head [m] x Flow [ l/s] x g x e
Flow [ l/s] = Power [W] / (Net head [m] x g x e)
Avg. power [Wh] = (Yearly Power [Wh] / 365x24)
Avg. flow [ l/s ] = Avg. power / (Net head x g x e)
Yearly flow [ l ] = Avg. flow x 365x86400
Can we measure just one and use open data for the rest? Yes!

## Slide 6: Power Plant Tracker (PPT) – https://github.com/jariarkko/powerplanttracker
% ppt_flowcalculator.sh –country serbia
138 hydro power plants
211 power plants with energy production data
1 hydro power plants with net head data
For hydro power station црквине (Serbia, 2017):
Yearly power 2951585.600 KWh
Net head (height) 60.900 m
Average power 336.939 KW
Average flow 1.128 m3/s
Yearly flow 35571450.867 m3